## Slide 1: Adaptive Control
Automatic adjustment of controller settings to compensate for unanticipated changes in the process or the environment (“self-tuning” controller)
--- uncertainties
---nonlinearities
--- time-varying parameters
Offers significant benefits for difficult control problems

## Slide 2: Examples-process changes
Catalyst behavior
Heat exchanger fouling
Startup, shutdown
Large frequent disturbances (grade or quality changes flow rate)
Ambient conditions
Programmed Adaption—
If process changes are known, measurable, or can be anticipated, use this information to adjust controller settings accordingly,
-- store different settings for different conditions

## Slide 3
Figure: Closed-loop Process Response Before Retuning (dashed line) and After Retuning (solid line)

## Slide 4
Controller gain =
Reset =
Derivative =
, f=full scale
Ziegler-Nichols:

## Slide 5
Could use periodic step tests to identify dynamics
E.g.
Then update controller using Cohen-Coon settings

## Slide 7: Rule of Thumb: (stability theory)
If process gain, , varies, the controller gain, , should be adjusted in a inverse manner so that the product remains constant.
Example: PH control
Ref: Shinskey, Process Control Systems (197: pp. 132-135)
g-ions/l (normality)
Titration curves for strong acids and strong bases:

## Slide 8
Process gain = slope of curve (extremely variable)
Control at pH= 7 ?
pH

## Slide 11
Commercial Adaptive Controllers(not in DCS)
(1) Leeds and Northrup
(2) Toshiba
(3) ASEA (self-tuning regulator or min variance)
(4) Foxboro(expert system)
(5) SATT/Fisher Controls(autotuner)

## Slide 12: L+N Controller (Cont. Eng. Aug, 1981)
Based on not overshoot exponential approach to set point (no offset)
( is unknown)
If
Then
(D) (P) (I)
If overshoot occurs  model error re-model, re-tune
(analogous to Dahlin digital controller)
(Use discrete PID, second order difference equation)

## Slide 15: Many Different Possibilities
DESIGN
ESTIMATOR
REGULATOR
PROCESS
Design Methods:
Minimum variance
LQG
Pole-placement
Phase and gain margins
Estimation Methods:
Stochastic approximation
Recursive least squares
Extended least squares
Multi-stage least squares
Instrumental variance
Recursive maximum likelihood

## Slide 16
Question: How can we use on-line information about to help control the plant?
(1) Simple idea
-use as if it were
Certainty Equivalence
Other Ideas
(2) Reduce size of control signals since we know is in error.
CAUTION
(3) Add extra signals to help learn about
PROBING

## Slide 17
Plant
Parameter Estimator
Control law Synthesis
Feedback
Set point
Linear Stochastic
Nonlinear
Time Varying
Nonlinear
A special class of nonlinear control

## Slide 18
Classification of Adaptive Control Techniques
(1) explicit – model parameters estimated explicitly;
Indirect – control law obtained via model;
(2) implicit – model parameters imbedded in control law;
Direct – control law estimated directly;
Adaptive Control Algorithms
(1) On-line parameter estimation;
(2) Adaptive Control design methods based on
(a) quadratic cost functions
(b) pole placement
(c) stability theory
(3) Miscellaneous methods

## Slide 19: On-line Parameter Estimation
Continuous
Nonlinear regression to find ,
Discrete
Linear regression to find ,
More suited to computer control and monitoring
Non-sequential
Long time horizon
Batch
Off-line
Sequential
One point at a time
On-line
Continuous updating

## Slide 20
Linear difference equation model
Models for adaptive control usually linear and low order (n=2 or 3)
-- n too large  too many parameters;
-- n too small  inadequate description of dynamics
Select time delay (k) so that k=2 or 3
Fractional time-delay causes non-minimum phase model (discrete)
Affected by sampling time
Non-minimum phase  appears min phase

## Slide 21
Closed loop estimation – least squares solution is not unique for constant feedback gain. Parameter estimates can be found if
(1) feedback control law is time-varying
(2) separate perturbation signal is employed
Ex.
(1)
Feedback control (constant gain)
Set
, (2)
Mult. (2) by ; add to Eq. (1)
Non-unique parameter estimates yield

## Slide 22
Application to Digital (models and control)
(linear discrete model)
: time delay; : output; : input ; : disturbance
,

## Slide 23
Least Squares Parameter Estimation
Where
(“least squares”) is the predicted value of

## Slide 24
is the Kalman filter gain

## Slide 25
Numerical accuracy problems
-- P can become indefinite (round-off)
-- use square-root filtering
or other decomposition(S(t) upper triangular matrix)
generally becomes smaller over time (insensitive to new measurements)
may actually be time-varying
Implementation of Parameter Estimation Algorithms
-- Covariance resetting
-- variable forgetting factor
-- use of perturbation signal

## Slide 26
Enhance sensitivity of least squares estimation algorithms with forgetting factor
prevents elements of from becoming too small (improves sensitivity), but noise may lead to incorrect parameters
typical
: all data weighted equally

## Slide 29
 | 0.999 | 0.99 | 0.95
 | 2000 | 200 | 40
 | 0.135 | 0.134 | 0.129
 | 0.999 | 0.99 | 0.95
 | 2000 | 200 | 40
 | 0.135 | 0.134 | 0.129
Parameter estimate
For ,
Faster convergence, but more sensitive to noise

## Slide 30
Covariance Resetting/Forgetting Factor
Sensitive to parameter changes (noise causes parameter drift)
P can become excessively large (estimator windup)
add D when exceeds limit or when becomes too small
Constant , is usually unsatisfactory

## Slide 31
Alternative method – “a priori” covariance matrix
Equivalent to “covariance resetting” and Kalman filter version

## Slide 34
One solution: Perturbation signal added to process input (via set pt)
Large signal: good parameter estimates but large errors in process output
Small signal: opposite effects
Vogel (UT)
1. Set ;
2. Use D (added when becomes small)
3. Use PRBS perturbation signal (only when estimation error is large and P is not small), vary PRBS amplitude with size of elements of P (proportional amplitude)
PRBS –19 intervals
4.
5 filter parameters estimates
( used by controller)

## Slide 36
Model Diagnostics
Reject spurious model parameters. Check
(1) model gain (high, low limits)
(2) poles
(3) modify large parameter changes (delimiter)
Other Modifications:
(1) instrumental variable method (colored vs. white noise)
(2) extended least squares (noise model)
In RLS, parameter estimates are biased because is correlated with . IV uses variable transformation (linear) to yield uncorrelated residuals.
In (2), apply RLS as if all are known (don’t really know if parameter estimates are erroneous)

## Slide 37
Pole Placement Controller (Regulator): Model and Controller
where
Closed-loop Transfer Function
Select , to give desired closed-loop poles
(1)

## Slide 38
Example
Let , (1) becomes
, , all other , =0
Modify to obtain integral action

## Slide 39
Pole placement controller (Servo)
Place poles/cancel zeros (avoid direct inversion of process model)
Design Rationale:
(1) Open-loop zeros which are not desired as closed-loop zeros must appear in .
(2) Open-loop zeros which are not desired as controller poles in F must appear in . (example: zeros outside unit circle)
(3) Specify (integral action, closed-loop gain = 1)

## Slide 40
(1) and (2) may require spectral factorization
Two special cases avoid this step.
(a) all process zeros are cancelled (Dahlin’s Controller)
(b) no process zeros are cancelled (Vogel-Edgar)
These are both explicit algorithms (pole placement difficult to formulate as implicit algorithm)
Numerical Example
Discrete Model:
(); (6);
: Gaussian noise with zero mean and

## Slide 41
Simulation Conditions
Time | Events
0 | Start with
50 | Set point change from 0 to 1
100 | Load (d) change from 0 to 0.2
150 | Process gain change from 1 to 2
Time | Events
0 | 
50 | Set point change from 0 to 1
100 | Load (d) change from 0 to 0.2
150 | Process gain change from 1 to 2

## Slide 42
Controller
: minimum expected dead time
Process model
Features:
Variable dead time compensation
# parameters to be estimated depends on range of dead time
handles non-minimum phase systems, also poorly damped zeroes
includes integral action
on-line tuning parameter ("response time", )

## Slide 43
Figure: Flow Chart for the Parameter Estimation Algorithm

## Slide 44
Flow Chart for Adaptive Controller/Dead (Time compensator)

## Slide 46
User-specified Parameters
(, dominant time constant)
model order n=1 or 2. (n=2 does not work well for 1st order)
K- minimum dead time based on operating experience
initial parameter estimates
(a) open loop test
(b) Conventional control, closed loop test
high/low gain limits (based on operating experience)
(select as )

## Slide 52
Figure 7 Process Diagram for Control of Condenser Outlet Temperature (Distillation Column Provides the Disturbance)
Column: MeOH –H2O
8 Seive trays; Thermo siphon re-boiler; constant pressure