## Slide 1
Chapter 12

## Slide 2
Direct Synthesis
( G includes Gm, Gv)
1. Specify closed-loop response (transfer function)
2. Need process model, (= GPGMGV)
3. Solve for Gc,
Chapter 12
(12-3b)

## Slide 3
Specify Closed – Loop Transfer Function
(first – order response, no offset)
But other variations of (12-6) can be used (e.g., replace time delay
with polynomial approximation)
Chapter 12

## Slide 4
Derivation of PI Controller for FOPTD Process
Consider the standard first-order-plus-time-delay model,
Substituting and rearranging gives a PI controller,
with the following controller settings:
Chapter 12
Specify closed-loop response as FOPTD (12-6), but
approximate

## Slide 5
Chapter 16
Time Delay Compensation
• Model-based feedback controller that improves
closed-loop performance when time delays are present
• Effect of added time delay on PI controller performance
for a second order process (t1 = 3, t2 = 5) shown below

## Slide 6
Chapter 16

## Slide 7
No model error:
(sensitive to model errors > +/- 20%)
Chapter 16

## Slide 8
Chapter 16

## Slide 9
Direct Synthesis Approach (Smith Predictor)
Assume time delay between set-point change and controlled
variable (same as process time delay,  ).
If
then
From Block Diagram,
Equating...
Chapter 16